## Check montoring
AquaGib - Check Monitoring Analysis
Potable Water Mains Supply
Samples of water in the distribution system, collected weekly | [7 empty] | For Information on what
Record of Chemical and Bacteriological Analysis undertaken at AquaGib | [7 empty] | the anlysis means
Standards are in accordance with the Public Health Water Rules 1994. | [8 empty] | Click here
This includes the requirements of European Directive 98/83/EC.
Note: European Directive 98/83/EC requires a minimum of 16 Check Monitoring samples per year in Gibraltar
|  |  |  | Colour | Turbidity | Odour | Taste | pH | Ammonium | Conductivity | Chloride | Coliform | Esherichia coli
|  |  | Units | Qualitative | NTU | Qualitative | Qualitative | pH value | mg/l | μS/cm | mg/l | number/100ml | number/100ml
Sample Location | Date of Collection of Sample | Analysis Reference Number | Standard | Acceptable to consumers and no abnormal change | Acceptable to consumers and no abnormal change | Acceptable to consumers and no abnormal change | Acceptable to consumers and no abnormal change | 6.5 to 9.5 | 0.5 | 2500 | 250 | 0 | 0
fvihiuhiufdh | 2006-02-07 | 1 |  | Clear | 0.62 | None | None | 8.09 | Nil | 569 | 146 | 0 | 0
fvihiuhiufdh | 2006-02-07 | 2 |  | Clear | 0.39 | None | None | 8.53 | Nil | 558 | 139 | 0 | 0
fvihiuhiufdh | 2006-02-15 | 3 |  | Clear | 0.6 | None | None | 8.48 | Nil | 504 | 123 | 0 | 0
fvihiuhiufdh | 2006-02-15 | 4 |  | Clear | 0.63 | None | None | 8.4 | Nil | 605 | 158 | 0 | 0
fvihiuhiufdh | 2006-02-21 | 5 |  | Clear | 0.34 | None | None | 8.21 | Nil | 526 | 131 | 0 | 0
fvihiuhiufdh | 2006-02-21 | 6 |  | Clear | 0.43 | None | None | 8.19 | Nil | 559 | 139 | 0 | 0

## Audit Monitoring
AquaGib - Audit Monitoring Analysis
Potable Water Mains Supply
Samples of water in the distribution system, collected weekly | [7 empty] | For Information on what
Record of Chemical and Bacteriological Analysis undertaken at AquaGib | [7 empty] | the anlysis means
Click here
This includes the requirements of European Directive 98/83/EC
Note: European Directive 98/83/EC requires a minimum of 3 Audit samples per year in Gibraltar
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
|  |  |  | E.coli | Entereococci | Antimony | Arsenic | Benzene | Benzo(a) pyrene | Boron | Bromate | Cadmium | Chromium | Copper | Cyanide | 1,2 dichloroethane | Epichlorohydrin | Fluoride | Lead | Mercury | Nickel | Nitrate as NO3 | Nitrite as NO2 | Pesticides- Total | Polycyclic aromatic hydrocarbons (PAH)Total | Selenium | Tetrachloroethene | Trichloroethene | Trihalomethanes Total | Vinyl Chloride | Aluminium | Ammonium as NH4 | Chloride | Colour | Conductivity | pH | Iron | Manganese | Odour | Oxidisability | Sulphate | Sodium | Taste | Coliform Bacteria | Turbidity
|  |  | Units | number/100ml | number/100ml | μgSb/l | As μg/l | μg/l | μg/l | mgB/l | μgBrO3/l | μgCd/l | μgCr/l | mgCu/l | μgCN/l | μg/l | μg/l | mgF/l | μgPb/l | μgHg/l | μgNi/l | mgNO3/l | mgNO2/l | μg/l | μg/l | μgSe/l | μg/l | μg/l | μg/l | μg/l | μgAl/l | mgNH4/l | mgCl/l | mg/l Pt/Co | μS/cm | pH units | μgFe/l | μgMn/l | Qualitative | O2mg/l | mgSO4/l | mgNa/l | Qualitative | number/100ml | NTU
Sample Location | Date of Collection of Sample | Analysis Reference Number | Standard | 0 | 0 | 5 | 10 | 1 | 0.01 | 1 | 10 | 5 | 50 | 2 | 50 | 3 | 0.1 | 1.5 | 10 | 1 | 20 | 50 | 0.5 | 0.5 | 0.1 | 10 | Combined Standard of 10 |  | 100 | 0.5 | 200 | 0.5 | 250 | Acceptable to consumers and no abnormal change | 2500 | ≥ 6.5, ≤ 9.5 | 200 | 50 | Acceptable to consumers and no abnormal change | 5 | 250 | 200 | Acceptable to consumers and no abnormal change | 0 | Acceptable to consumers and no abnormal change
Zone1, North Front, Both Worlds | 2009-04-14 | 968734 |  | 0 | 0 | <0.28 | 0.58 | <0.030 | <0.00062 | 0.55 | <0.95 | 0.010 | <0.20 | <0.00064 | <0.66 | <0.049 | <1.0 | <0.027 | 0.045 | <0.037 | 1.4 | <0.73 | <0.0014 | 0 | 0.0020 | 0.63 | <0.16 | <0.26 | 0 | <1.0 | <2.9 | <0.019 | 190 | <0.93 | 600 | 7.83 | 66 | 0.45 | 0 | 0.19 | <1.3 | 60 | 0 | 0 | 0.090
Zone3, Europa District, Sunset Close | 2009-04-14 | 968735 |  | 0 | 0 | <0.28 | 0.71 | <0.030 | <0.00062 | 0.56 | <0.95 | 0.0083 | 0.20 | <0.00064 | <0.66 | <0.049 | <1.0 | <0.027 | 3.2 | <0.037 | 0.62 | <0.73 | <0.0014 | 0 | 0.0016 | 0.51 | <0.16 | <0.26 | 0 | <1.0 | <2.9 | 0.027 | 180 | <0.93 | 630 | 8.09 | <2.3 | 0.57 | 0 | 0.19 | <1.3 | 61 | 0 | 0 | 0.32
Zone2,Low Level,Education Department Queensway | 2009-07-21 | 988662 |  | 0 | 0 | 0.36 | 0.63 | <0.030 | <0.00062 | 0.53 | <0.95 | 0.014 | <0.20 | 0.011 | <0.66 | <0.049 | <1.0 | <0.027 | 1.9 | <0.037 | 1.5 | 0.97 | <0.0014 | 0 | 0.0016 | 0.38 | <0.16 | <0.26 | 0 | <1.0 | 4.1 | <0.019 | 180 | <0.93 | 600 | 8.07 | 94 | 1.0 | 114 | 0.48 | 2.1 | 62 | 0 | 0 | 0.17
M.O.D Supply, Bleak House,Elliots Battery | 2009-07-21 | 988663 |  | 0 | 0 | 0.32 | 0.60 | <0.030 | <0.00062 | 0.18 | 6.4 | <0.0081 | <0.20 | 0.0027 | <0.66 | <0.049 | <0.10 | <0.027 | 0.32 | <0.037 | 0.53 | 0.91 | <0.0014 | 0 | 0.00156 | <0.31 | <0.16 | <0.26 | 3.20 | <0.10 | <2.9 | <0.019 | 190 | <0.93 | 660 | 7.94 | 58 | 0.82 | 0 | 0.41 | 2.0 | 72 | 0 | 0 | 0.19
Zone1,Shipping District,Port Department | 2009-10-12 | 1006065 |  | 0 | 0 | <0.28 | 0.53 | <0.030 | <0.00066 | 0.68 | <0.95 | <0.0081 | <0.20 | <0.00064 | <0.66 | <0.049 | <1.0 | <0.027 | 0.10 | <0.037 | 0.12 | <0.73 | <0.0014 | 0 | 0 | <0.31 | <0.16 | <0.26 | 6.70 | <1.0 | <2.9 | <0.019 | 210 | <0.93 | 680 | 8.25 | 7.7 | 0.41 | 0 | 0.66 | 1.7 | 67 | 0 | 0 | 0.15
Zone3,Europa District,The Cliftons | 2009-10-12 | 1006066 |  | 0 | 0 | <0.28 | 0.51 | <0.030 | <0.00066 | 0.68 | <0.95 | <0.0081 | <0.20 | <0.00064 | <0.66 | <0.049 | <1.0 | <0.027 | 0.27 | <0.037 | 0.18 | <0.73 | <0.0014 | 0 | 0 | <0.31 | <0.16 | <0.26 | 3.10 | <1.0 | <2.9 | <0.019 | 210 | <0.93 | 680 | 8.20 | <2.3 | 0.41 | 0 | 0.51 | 1.8 | 68 | 0 | 0 | 0.051
Zone2,Low Level,St Marys School | 2009-12-24 | 1018766 |  | 0 | 0 | <0.28 | 0.48 | <0.030 | <0.00062 | 0.49 | <0.95 | <0.0081 | <0.20 | 0.0029 | <0.66 | <0.049 | <0.10 | <0.027 | 0.12 | <0.037 | 1.5 | <0.78 | <0.0014 | 0 | 0.0016 | 0.34 | <0.16 | <0.26 | 5.40 | <1.0 | <2.9 | <0.019 | 190 | <0.93 | 570 | 8.26 | 90 | 0.79 | 0 | 0.66 | 1.4 | 61 | 0 | 0 | 0.32
M.O.D Supply, Buena Vista Road | 2009-12-24 | 1018757 |  | 0 | 0 | 0.38 | 0.45 | <0.030 | <0.00062 | 0.47 | 2.7 | <0.0081 | <0.20 | 0.0037 | <0.66 | <0.049 | <0.10 | <0.027 | 1.1 | <0.037 | 0.83 | <0.78 | <0.0014 | 0 | 0.00091 | 0.32 | <0.16 | <0.26 | 1.70 | <1.0 | <2.9 | <0.019 | 190 | 11 | 650 | 7.71 | <2.3 | 0.49 | 0 | 0.60 | 2.2 | 67 | 0 | 0 | 0.049
Zone1,High Level,Sacred Heart Middle School | 2010-03-18 | 1034370 |  | 0 | 0 | <0.28 | 0.66 | <0.030 | <0.00062 | 0.54 | <0.95 | <0.0081 | <0.20 | 0.0045 | <0.66 | <0.049 | <0.1 | <0.027 | 0.60 | <0.037 | 2.4 | 1.2 | <0.0014 | 0 | 0.0044 | 0.43 | <0.16 | <0.26 | 2.40 | <1.0 | <2.9 | <0.019 | 180 | <0.93 | 600 | 8.26 | 150 | 2.2 | 0 | 0.40 | 1.9 | 60 | 0 | 0 | 0.44
Zone3,Europa District,Lathbury Industrial Park | 2010-03-18 | 1034371 |  | 0 | 0 | <0.28 | 0.35 | <0.030 | <0.00062 | 0.49 | <0.95 | <0.0081 | <0.20 | 0.00093 | <0.66 | <0.049 | <0.1 | <0.027 | 0.20 | <0.037 | 1.3 | 1.4 | <0.0014 | 0 | 0.0022 | <0.31 | <0.16 | <0.26 | 9.50 | <1.0 | <2.9 | <0.019 | 150 | <0.93 | 530 | 7.91 | 18 | 0.60 | 0 | 1.9 | 1.9 | 53 | 0 | 0 | 0.093
Zone2,Low Level,Catalan Bay Village | 2010-07-21 | 1056059 & 1058732 |  | 0 | 0 | <0.28 | 0.71 | <0.030 | 0.0012 | 0.74 | <0.95 | <0.0081 | <0.20 | 0.0066 | <0.66 | <0.049 | <0.1 | <0.027 | 0.52 | <0.037 | 2.7 | 1.2 | <0.0014 | 0 | 0.01238 | <0.31 | 0 | <0.26 | 2.40 | <1.0 | 12 | 0.059 | 220 | <0.93 | 690 | 7.93 | 430 | 11 | 0 | 0.59 | 1.2 | 75 | 0 | 0 | 1.5
M.O.D Supply,Elliots Battery Europa Flats | 2010-07-21 | 1058733 & 1056058 |  | 0 | 0 | 0.33 | 0.6 | <0.030 | <0.00062 | 0.29 | 6.5 | <0.0081 | <0.20 | <0.00064 | <0.66 | <0.049 | <0.1 | <0.027 | 0.073 | <0.037 | 0.78 | 1.2 | <0.0014 | 0 | 0.0030 | 0.36 | 0 | <0.26 | 0 | <1.0 | 6.4 | <0.019 | 220 | <0.93 | 730 | 7.63 | <2.3 | 0.50 | 0 | 0.69 | 2.4 | 79 | 0 | 0 | 0.19
Zone1,North Front,Devils Tower Road | 2010-10-18 | 1074377 |  | 0 | 0 | <0.28 | 0.71 | <0.030 | <0.00062 | 0.59 | <0.97 | <0.0081 | 0.26 | <0.00064 | <0.66 | <0.049 | <0.5 | <0.027 | 0.33 | <0.037 | 0.79 | 1.1 | <0.0014 | 0 | 0.0018 | <0.31 | <0.16 | <0.26 | 7.20 | <0.10 | <2.9 | <0.019 | 190 | 3.2 | 630 | 8.27 | 6.5 | 0.57 | 0 | 0.26 | 1.5 | 68 | 0 | 0 | 0.055
Zone3,Europa District,Sunset Close | 2010-10-18 | 1074376 |  | 0 | 0 | <0.28 | 0.76 | <0.030 | <0.00062 | 0.66 | <0.97 | <0.0081 | 0.27 | <0.00064 | <0.66 | <0.049 | <0.5 | <0.027 | 0.94 | <0.037 | 0.17 | 1.1 | <0.0014 | 0 | 0.00254 | 0.44 | <0.16 | <0.26 | 1.90 | <0.10 | <2.9 | <0.019 | 200 | 1.2 | 670 | 8.19 | <2.3 | 0.54 | 0 | 0.45 | 1.8 | 74 | 0 | 0 | 0.051
Zone2,Low Level,Education Department Queensway | 2010-12-07 | 1084520 |  | 0 | 0 | <0.28 | 0.54 | <0.030 | <0.00062 | 0.51 | <0.97 | <0.0081 | <0.20 | 0.0018 | <0.30 | <0.049 | <0.1 | <0.027 | 0.28 | <0.037 | 2.0 | 1.0 | <0.0014 | 0 | 0 | 0.35 | <0.16 | <0.26 | 0 | <0.50 | <2.9 | <0.019 | 180 | <0.93 | 570 | 8.36 | 49 | 1.1 | 0 | 0.29 | 3.4 | 62 | 0 | 0 | 0.15
M.O.D Supply,HM Customs,Land Frontier | 2010-12-07 | 1084519 |  | 0 | 0 | <0.28 | 1.8 | <0.030 | <0.00062 | 0.59 | <0.97 | <0.0081 | 0.26 | <0.00064 | <0.30 | <0.049 | <0.1 | 0.036 | 0.19 | <0.037 | 1.7 | 1.2 | <0.0014 | 0 | 0 | 2.1 | <0.16 | <0.26 | 17.5 | <0.50 | <2.9 | <0.019 | 600 | <0.93 | 1900 | 8.15 | 8.7 | 1.2 | 0 | 0.16 | 71 | 300 | 0 | 0 | 0.14
Zone1,West Side Reclamation,Morrison Supermarket | 2011-03-22 | 59803 |  | 0 | 0 | <0.28 | 0.64 | <0.030 | <0.00053 | 0.59 | <0.97 | <0.0081 | <0.20 | 0.0022 | <0.30 | <0.049 | <0.1 | <0.027 | 0.13 | <0.037 | 1.4 | 1.0 | <0.0014 | 0 | 0 | 0.51 | <0.16 | <0.26 | 1.30 | <0.50 | <7.3 | <0.019 | 180 | <0.93 | 620 | 7.95 | 8.3 | 0.15 | 0 | 0.26 | 2.0 | 72 | 0 | 0 | 0.11
Zone3,Europa District,High Cliffs | 2011-03-22 | 59809 |  | 0 | 0 | <0.28 | 0.7 | <0.030 | <0.00053 | 0.59 | <0.97 | <0.0082 | <0.20 | 0.00082 | <0.30 | <0.049 | <0.1 | <0.027 | 0.13 | <0.037 | 0.54 | 0.8 | <0.0014 | 0 | 0 | 0.59 | <0.16 | <0.26 | 0.920 | <0.50 | <7.3 | <0.019 | 190 | <0.93 | 630 | 8.15 | 2.8 | 0.082 | 0 | 0.38 | 1.8 | 74 | 0 | 0 | 0.16
Zone2,Low Level,Central Police Station | 2011-06-07 | 105810 |  | 0 | 0 | <0.28 | 0.63 | <0.030 | <0.00053 | 0.72 | 6.3 | <0.0081 | <0.20 | 0.0070 | <0.30 | <0.049 | <0.10 | <0.027 | 0.92 | <0.037 | 2.4 | <0.78 | <0.0014 | 0.00630 | 0 | 0.43 | <0.16 | <0.26 | 1.60 | <0.50 | <7.3 | <0.019 | 210 | <0.93 | 670 | 8.15 | 96 | 1.6 | 0 | 0.33 | 1.8 | 79 | 0 | 0 | 0.43
M.O.D Supply,Elliots Battery Europa Flats | 2011-06-07 | 105808 |  | 0 | 0 | <0.28 | 0.46 | <0.030 | <0.00053 | 0.86 | <0.97 | 0.029 | <0.20 | 0.0011 | 1.4 | <0.049 | <0.10 | <0.027 | 0.74 | <0.037 | 2.3 | <0.78 | <0.0014 | 0.00640 | 0.0 | <0.31 | <0.16 | <0.26 | 4.39 | <0.50 | <7.3 | <0.019 | 220 | <0.93 | 740 | 7.84 | 15 | 0.26 | 0 | 0.27 | 1.3 | 89 | 0 | 0 | 0.14
Zone2,Low Level,St Mary's School | 2011-08-02 | 139233 |  | 0 | 0 | <0.28 | 1.7 | <0.030 | <0.00053 | 0.61 | <0.97 | 0.0084 | <0.20 | 0.0084 | 0.39 | <0.049 | <0.10 | 0.030 | 0.95 | <0.037 | 2.6 | <0.78 | <0.0014 | 0.00 | 0.0 | 1.3 | <0.16 | <0.26 | 2.60 | <0.50 | <7.3 | <0.019 | 190 | <0.93 | 630 | 8.03 | 270 | 2.1 | 0 | <0.092 | 1.2 | 69 | 0 | 0 | 0.36
M.O.D Supply,Buena Vista Hostel | 2011-08-02 | 139231 |  | 0 | 0 | <0.28 | 1.6 | <0.030 | <0.00053 | 0.82 | 4.5 | 0.011 | <0.20 | 0.0059 | 0.33 | <0.049 | <0.10 | 0.040 | 0.57 | <0.037 | 1.6 | <0.78 | <0.0014 | 0.00 | 0.0 | 1.3 | <0.16 | <0.26 | 4.00 | <0.50 | <7.3 | <0.019 | 230 | <0.93 | 770 | 7.91 | 30 | 0.43 | 0 | 0.34 | 1.2 | 88 | 0 | 0 | 0.19
Zone1,North Front,Both Worlds | 2011-12-13 | 225672 |  | 0 | 0 | <0.28 | 0.52 | <0.030 | <0.00061 | 0.70 | <0.97 | <0.0081 | <0.20 | 0.0013 | 0.50 | <0.049 | <0.10 | 0.0060 | 0.075 | <0.037 | 1.4 | <0.17 | <0.0029 | 0.00 | 0.0 | <0.31 | <0.16 | <0.26 | 0.840 | <0.50 | <7.3 | 0.021 | 200 | <0.93 | 650 | 8.11 | 36 | 0.10 | 0 | 0.26 | 1.9 | 74 | 0 | 0 | 0.32
Zone3,Europa District,Sunset Close | 2011-12-13 | 225673 |  | 0 | 0 | <0.28 | 0.48 | <0.030 | <0.00061 | 0.72 | <0.97 | <0.0081 | <0.20 | <0.00064 | <0.30 | <0.049 | <0.10 | 0.0030 | 0.48 | <0.037 | 0.42 | <0.17 | <0.0029 | 0.00 | 0.0 | <0.31 | <0.16 | <0.26 | 0.880 | <0.50 | <7.3 | 0.021 | 220 | <0.93 | 700 | 8.21 | <2.6 | <0.060 | 0 | 0.19 | 3.1 | 85 | 0 | 0 | 0.16
Zone1,High Level,Willis's Parade | 2012-03-21 | 284502 |  | 0 | 0 | <0.28 | 0.54 | <0.014 | <0.00053 | 0.59 | <0.97 | <0.0081 | <0.20 | 0.00090 | <0.30 | <0.036 | <0.10 | <0.027 | 6.1 | <0.037 | 0.45 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.31 | <0.051 | <0.044 | 1.60 | <0.50 | <7.3 | <0.0072 | 200 | 1.1 | 660 | 8.24 | 20 | 0.18 | 0 | 0.31 | 4.0 | 76 | 0 | 0 | 0.068
Zone3,Europa District,High Cliffs | 2012-03-21 | 284501 |  | 0 | 0 | <0.28 | 0.46 | <0.014 | <0.00053 | 0.57 | <0.97 | <0.0081 | <0.20 | 0.0021 | <0.30 | <0.036 | <0.10 | <0.027 | 1.6 | <0.037 | 0.40 | <1.7 | <0.0029 | 0.00 | 0.000530 | <0.31 | <0.051 | <0.044 | 1.60 | 0.50 | <7.3 | <0.0072 | 200 | 1.4 | 660 | 8.21 | 10 | <0.060 | 0 | 0.25 | 3.9 | 77 | 0 | 0 | 0.15
Zone2,Low Level,Gibraltar Museum | 2012-07-30 | 367341 |  | 0 | 0 | <0.28 | 0.4 | <0.014 | <0.00053 | 0.90 | <0.30 | <0.0081 | <0.20 | 0.0056 | 0.43 | <0.036 | <0.10 | <0.027 | 3.0 | <0.037 | 1.2 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.31 | <0.051 | <0.044 | 1.80 | <0.50 | <7.3 | <0.0072 | 210 | <0.93 | 700 | 8.00 | 470 | 6.4 | 0 | 0.36 | 4.2 | 95 | 0 | 0 | 0.95
M.O.D Supply,Europa Path, Naval Hospital | 2012-07-30 | 367343 |  | 0 | 0 | <0.28 | 0.37 | <0.014 | <0.00053 | 0.81 | <0.30 | <0.0081 | <0.20 | 0.0027 | <3.0 | <0.036 | <0.10 | <0.027 | <0.025 | <0.037 | <0.034 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.31 | <0.051 | <0.044 | 1.70 | <0.50 | <7.3 | <0.0072 | 220 | <0.93 | 720 | 8.37 | <2.6 | <0.060 | 0 | 0.42 | 4.6 | 88 | 0 | 0 | 0.077
Zone1,South District,Rosia Dale | 2012-10-29 | 429081 |  | 0 | 0 | <0.28 | 0.58 | <0.013 | <0.00053 | 0.65 | 1.5 | <0.0081 | <0.20 | <0.00064 | 0.33 | <0.060 | <0.10 | <0.024 | 0.17 | <0.037 | 0.10 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.31 | <0.12 | <0.098 | 8.17 | <0.50 | <6.6 | <0.0072 | 180 | <0.93 | 650 | 8.45 | 11 | 0.36 | 0 | 0.54 | 3.7 | 80 | 0 | 0 | 0.082
Zone3,Europa District,Lancester House | 2012-10-29 | 429087 |  | 0 | 0 | <0.28 | 0.6 | <0.013 | <0.00053 | 0.66 | 9.0 | <0.0091 | <0.20 | 0.0042 | <0.30 | <0.060 | <0.10 | <0.024 | 0.45 | <0.037 | 0.83 | <1.7 | <0.0029 | 0.0400 | 0.00 | <0.31 | <0.12 | <0.098 | 9.97 | <0.50 | <6.6 | <0.0072 | 200 | <0.93 | 710 | 8.05 | 15 | 0.29 | 0 | 0.54 | 2.2 | 80 | 0 | 0 | 0.098
Zone1,Waterport District | 2013-02-12 | 494094 |  | 0 | 0 | <0.033 | 0.2 | <0.013 | <0.00056 | 0.75 | <0.30 | <0.0024 | 0.099 | 0.033 | n/a | <0.025 | n/a | <0.024 | 0.68 | <0.013 | 0.69 | <1.7 | <0.0029 | 0.0187 | 0.00 | 0.21 | <0.12 | <0.098 | n/a | n/a | <6.6 | <0.0072 | 210 | <0.93 | 710 | 8.21 | 320 | 1.7 | 0 | 0.10 | 5.8 | 92 | 0 | 0 | 0.84
Zone3,Europa District | 2013-02-12 | 494106 |  | 0 | 0 | <0.033 | 0.15 | 0.015 | <0.00056 | 0.57 | <0.30 | <0.0024 | 0.10 | <0.00093 | n/a | <0.025 | n/a | <0.024 | 0.18 | <0.013 | 0.17 | <1.7 | <0.0029 | 0.0187 | 0.00 | 0.19 | <0.12 | <0.098 | n/a | n/a | <6.6 | <0.0072 | 200 | <0.93 | 690 | 8.29 | 5.7 | 0.22 | 0 | 0.22 | 7.9 | 88 | 0 | 0 | 0.12
Zone1,Shipping District,Waterport Gib Oil | 2013-07-01 | 579584 |  | 0 | 0 | <0.033 | 0.151 | <0.013 | <0.00056 | n/a | <0.30 | <0.0024 | <0.025 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.11 | 0.065 | <0.013 | 0.13 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 1.40 | <0.50 | <6.6 | 0.026 | 210 | <0.93 | 710 | 8.24 | 27 | 0.39 | 0 | 0.093 | 6.8 | 90 | 0 | 0 | 0.092
Zone3,Europa District,Brymton Estate,Victoria Tower | 2013-07-01 | 579585 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | 0.71 | <0.30 | 0.0063 | <0.025 | 0.0021 | <0.30 | <0.025 | <0.10 | 0.10 | <0.014 | <0.013 | <0.020 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 6.00 | <0.50 | <6.6 | 0.016 | 220 | <0.93 | 730 | 8.33 | 6.1 | 0.48 | 0 | 0.25 | 7.3 | 98 | 0 | 0 | 0.056
Zone2,Moorish Castle,Low Level,20 Line Wall Road | 2013-08-05 | 602928 |  | 0 | 0 | <0.033 | 0.068 | 0.16 | <0.00056 | 0.68 | <0.30 | 0.025 | 0.044 | 0.0025 | 0.44 | <0.025 | <0.10 | 0.041 | 0.46 | <0.013 | 0.65 | <1.7 | <0.0029 | 0.0488 | 0.00 | <0.078 | <0.12 | <0.098 | 1.21 | <0.50 | 12 | <0.0072 | 200 | <0.93 | 680 | 8.05 | 21 | 0.75 | 0 | 0.51 | 3.5 | 81 | 0 | 0 | 0.19
MOD Supply,Tourist Site,100 Ton Gun | 2013-08-05 | 602929 |  | 0 | 0 | <0.033 | 0.057 | <0.013 | <0.00056 | 0.80 | <0.30 | 0.0085 | 0.12 | 0.0016 | 0.45 | <0.025 | <0.10 | 0.045 | 0.19 | <0.013 | 0.50 | <1.7 | <0.0029 | 0.0488 | 0.00 | <0.078 | <0.12 | <0.098 | 1.34 | <0.50 | 6.6 | 0.0079 | 210 | <0.93 | 700 | 8.27 | 22 | <0.18 | 0 | 0.19 | 3.6 | 87 | 0 | 0 | 0.12
Zone2,Low Level,ICC | 2013-10-16 | 648736 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00058 | 0.91 | <0.30 | 0.015 | <0.025 | 0.018 | 0.31 | <0.025 | <0.10 | 0.052 | 0.46 | <0.013 | 0.66 | <1.7 | <0.0029 | 0.0624 | 0.000400 | <0.078 | <0.12 | <0.098 | 6.73 | <0.50 | <6.6 | <0.0072 | 190 | <0.93 | 650 | 8.12 | 130 | 2.1 | 0 | <0.090 | 3.6 | 81 | 0 | 0 | 0.22
MOD Supply,Eliotts Battery | 2013-10-16 | 648737 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | 0.88 | 1.2 | 0.021 | <0.025 | 0.065 | <0.30 | <0.025 | <0.10 | 0.050 | 0.14 | <0.013 | 0.33 | <1.7 | <0.0029 | 0.0390 | 0.00 | <0.078 | <0.12 | <0.098 | 1.20 | <0.50 | <6.6 | <0.0072 | 240 | <0.93 | 780 | 7.76 | 17 | 0.22 | 0 | <0.090 | 2.0 | 91 | 0 | 0 | 0.052
Zone1,North Front,Caleta Palace Hotel | 2013-11-18 | 671867 |  | 0 | 0 | 0.044 | 0.12 | <0.013 | <0.00056 | 0.82 | 1.5 | 0.023 | <0.025 | 0.0071 | <0.30 | <0.025 | <0.10 | 0.045 | 0.53 | <0.013 | 0.59 | <1.7 | <0.0029 | 0.00 | 0.000950 | <0.078 | <0.12 | <0.098 | 4.08 | <0.50 | <6.6 | 0.015 | 200 | 3.1 | 670 | 8.18 | 110 | 1.4 | 0 | 0.19 | 3.8 | 82 | 0 | 0 | 0.40
Zone3,Europa District,The Clifftons | 2013-11-18 | 671871 |  | 0 | 0 | <0.033 | 0.093 | <0.013 | <0.00056 | 0.60 | <0.30 | <0.0024 | 0.14 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.042 | 0.051 | <0.013 | 0.11 | <1.7 | <0.0029 | 0.0130 | 0.00 | <0.078 | <0.12 | <0.098 | 2.77 | <0.50 | <6.6 | 0.013 | 190 | 4.0 | 640 | 8.25 | <1.2 | <0.18 | 0 | <0.092 | 1.4 | 68 | 0 | 0 | 0.074
Zone1,High Level,Sacred Heart Middle School | 2014-02-17 | 723977 |  | 0 | 0 | <0.333 | 0.10 | <0.013 | <0.00056 | 0.69 | 0.94 | 0.0068 | 0.071 | 0.0017 | <0.30 | <0.025 | <0.10 | 0.040 | 0.51 | <0.013 | 0.42 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 6.90 | <0.50 | 8.5 | <0.0072 | 200 | <0.93 | 690 | 8.16 | 65 | 1.6 | 0 | 0.56 | 5.1 | 90 | 0 | 0 | 0.25
Zone3,Europa District,Sunset Close | 2014-02-03 | 717996 |  | 0 | 0 | 0.061 | 0.059 | <0.016 | <0.00056 | 0.54 | <0.30 | 0.0045 | 0.038 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.044 | <0.014 | <0.013 | 0.074 | 2.2 | <0.0029 | 0.0170 | 0.000580 | <0.078 | <0.12 | <0.098 | 3.51 | <0.50 | <6.6 | 0.018 | 230 | <0.93 | 790 | 8.24 | <1.2 | <0.18 | 0 | 0.47 | 11 | 110 | 0 | 0 | 0.040
Zone2,Low Level,Mini Market, 325 Main Street | 2014-04-07 | 753704 |  | 0 | 0 | <0.033 | 0.077 | <0.013 | <0.00056 | 0.61 | 1.6 | 0.015 | 0.053 | 0.0047 | <0.30 | <0.025 | <0.10 | 0.037 | 0.42 | <0.013 | 1.0 | <1.7 | <0.0029 | 0.310 | 0.00 | <0.078 | <0.12 | <0.098 | 5.00 | <0.50 | 20 | 0.0089 | 210 | <0.93 | 690 | 8.27 | 58 | 0.94 | 0 | 0.54 | 5.0 | 82 | 0 | 0 | 0.18
MOD Supply,Buena Vista Estate | 2014-04-07 | 753705 |  | 0 | 0 | <0.033 | 0.098 | <0.013 | <0.00056 | 0.71 | 20 | 0.0092 | 0.087 | 0.025 | <0.30 | <0.025 | <0.10 | 0.033 | 0.24 | 0.028 | 0.15 | <1.7 | <0.0029 | 0.00480 | 0.00 | 0.16 | <0.12 | <0.098 | 6.10 | <0.50 | <6.6 | 0.0082 | 230 | <0.93 | 750 | 7.99 | 25 | 0.38 | 0 | 0.48 | 1.4 | 84 | 0 | 0 | 0.093
Zone1,South District,Vineyard Estate | 2014-07-14 | 813768 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | <0.0034 | 0.66 | 0.0079 | 0.10 | 0.0015 | <0.30 | <0.025 | <0.10 | 0.030 | 0.20 | <0.013 | 0.32 | <1.7 | <0.0029 | 0.0260 | 0.00 | <0.078 | <0.12 | <0.098 | 5.60 | <0.50 | 27 | 0.013 | 210 | <0.93 | 720 | 7.78 | 18 | 0.27 | 0 | 0.66 | 5.7 | 94 | 0 | 0 | 0.077
Zone3,Europa District,The High Cliffs | 2014-07-14 | 813769 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | 0.57 | <0.30 | <0.0024 | <0.025 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.030 | 0.15 | <0.013 | 0.088 | <1.7 | <0.0029 | 0.0198 | 0.00 | <0.078 | <0.12 | <0.098 | 7.90 | <0.50 | <6.6 | 0.016 | 210 | <0.93 | 720 | 7.87 | <1.2 | <0.18 | 0 | 0.28 | 5.3 | 92 | 0 | 0 | 0.047
Zone2,Low Level,ICC | 2014-10-27 | 882466 |  | 0 | 0 | 0.038 | 0.14 | <0.013 | <0.00056 | 0.75 | <0.30 | <0.0074 | 0.069 | 0.0046 | <0.30 | <0.025 | <0.10 | 0.029 | 0.83 | <0.013 | 0.79 | <1.7 | <0.0029 | 0.00920 | 0 | <0.078 | <0.12 | <0.098 | 6.84 | <0.50 | <6.6 | <0.0072 | 200 | <0.93 | 670 | 8.11 | 0 | 3.8 | 114 | 0.41 | 6.3 | 0 | 0 | 0 | 0.17
MOD Supply,Europa Point Public Toilets | 2014-10-27 | 881900 |  | 0 | 0 | <0.033 | 0.081 | <0.013 | <0.00056 | 0.77 | 10 | <0.0074 | 0.26 | 0.0033 | 0.43 | <0.025 | <0.10 | 0.027 | 0.66 | <0.013 | 0.93 | <1.7 | <0.0029 | 0.00 | 0 | <0.078 | <0.12 | <0.098 | 11.6 | <0.50 | 65 | 0.012 | 240 | <0.93 | 790 | 7.92 | 0 | 0.69 | 0 | 0.28 | 5.9 | 0 | 0 | 0 | 0.082
Zone1,West Side District,Harbour Views | 2015-01-12 | 930472 |  | 0 | 0 | <0.033 | 0.092 | <0.013 | <0.00056 | 0.52 | <0.30 | <0.0024 | <0.025 | 0.0011 | <0.30 | <0.025 | <0.10 | 0.027 | 0.048 | <0.013 | 1.3 | <1.7 | <0.0029 | 0.00 | 0 | <0.078 | <0.12 | <0.098 | 2.5 | <0.50 | <6.6 | <0.0072 | 190 | <0.93 | 660 | 8.40 | 0 | <0.18 | 0 | 0.16 | 6.5 | 0 | 0 | 0 | 0.056
Zone3,Europa District,Elliots battery | 2015-01-12 | 929477 |  | 0 | 0 | <0.033 | 0.090 | 0.013 | <0.00056 | 0.50 | <0.30 | <0.0024 | <0.025 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.034 | <0.014 | <0.013 | <0.020 | <1.7 | <0.0029 | 0.00 | 0 | <0.078 | <0.12 | <0.098 | 0.900 | <0.50 | <6.6 | 0.0086 | 190 | <0.93 | 650 | 8.29 | 0 | <0.18 | 0 | <0.092 | 6.8 | 0 | 0 | 0 | 0.046
Zone2,Low Level,Mcintosh Hall,Main Street | 2015-05-12 | 1001271 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | 0.53 | <0.30 | 0.0027 | 0.054 | <0.00093 | <0.30 | <0.025 | <0.10 | 0.020 | 0.073 | <0.013 | 0.26 | <1.7 | <0.0029 | 0.00390 | 0.00102 | <0.078 | 0.24 | <0.098 | 7.71 | <0.50 | <6.6 | 0.0087 | 190 | <0.93 | 700 | 8.11 | 9.5 | <0.18 | 0 | <0.092 | 5.3 | 87 | 0 | 0 | 0.075
MOD Supply,Bleak House | 2015-05-12 | 1001266 |  | 0 | 0 | <0.033 | <0.045 | <0.013 | <0.00056 | 0.62 | 6.8 | 0.0096 | 0.048 | 0.0031 | <0.30 | <0.025 | <0.10 | 0.030 | 0.26 | <0.013 | 0.20 | <1.7 | <0.0029 | 0.0230 | 0.00109 | <0.078 | 0.24 | 0.13 | 8.22 | <0.50 | 8.8 | 0.0073 | 230 | <0.93 | 770 | 7.78 | 39 | 0.35 | 0 | <0.092 | 5.1 | 77 | 0 | 0 | 0.18
Zone1,North Front District,Both worlds | 2015-07-21 | 1041819 |  | 0 | 0 | <0.033 | 0.090 | <0.013 | <0.00056 | 0.66 | <0.30 | 0.0057 | <0.025 | 0.0019 | <0.30 | <0.025 | <0.10 | <0.024 | 0.20 | <0.013 | <0.020 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | 0.30 | <0.098 | 7.20 | <0.50 | <6.6 | <0.0072 | 200 | <0.93 | 720 | 8.13 | 11 | <0.18 | 0 | 0.41 | 6.6 | 97 | 0 | 0 | 0.082
Zone3,Europa District,Elliots battery | 2015-07-21 | 1041821 |  | 0 | 0 | <0.033 | 0.13 | 0.022 | <0.00056 | 0.62 | <0.30 | <0.0024 | <0.025 | 0.0013 | <0.30 | <0.025 | <0.10 | <0.024 | 0.18 | <0.013 | <0.020 | <1.7 | <0.0029 | 0.00570 | 0.00 | <0.078 | 0.30 | 0.20 | 3.60 | <0.50 | <6.6 | <0.0072 | 200 | <0.93 | 710 | 8.19 | <1.2 | <0.18 | 0 | 0.47 | 6.8 | 98 | 0 | 0 | 0.054
Zone2,Low Level,O Callaghan Eliotts Hotel | 2015-11-04 | 1106176 |  | 0 | 0 | <0.033 | 0.071 | <0.013 | <0.00056 | 0.68 | <0.30 | 0.0046 | 0.20 | 0.015 | <0.30 | <0.025 | <0.10 | <0.024 | 1.2 | <0.013 | 1.4 | <1.7 | <0.0029 | 0.0380 | 0.00 | <0.078 | <0.12 | <0.098 | 6.00 | <0.50 | <6.6 | 0.022 | 210 | <0.93 | 720 | 8.15 | 73 | 3.5 | 0 | 0.38 | 5.7 | 100 | 0 | 0 | 0.58
MOD Supply,100 Ton Gun Gibraltar Tourist Board | 2015-11-04 | 1106177 |  | 0 | 0 | <0.033 | 0.053 | <0.013 | <0.00056 | 0.59 | <0.30 | 0.0042 | <0.025 | 0.0015 | <0.30 | <0.025 | <0.00070 | <0.024 | 0.11 | <0.013 | 0.22 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 7.00 | <0.50 | <6.6 | 0.016 | 210 | <0.93 | 730 | 8.14 | 2.8 | 0.23 | 0 | 0.31 | 5.7 | 100 | 0 | 0 | 0.099
Zone1,Waterport District,Aquagib Distiller Canteen | 2016-01-25 | 1155178 |  | 0 | 0 | <0.033 | 0.069 | <0.013 | <0.00056 | 0.58 | <0.30 | <0.0024 | <0.025 | <0.00093 | <0.30 | <0.025 | <0.10 | <0.024 | 0.051 | <0.013 | 0.087 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 2.90 | <0.50 | <6.6 | <0.0072 | 200 | <0.93 | 680 | 8.15 | 3.6 | <0.18 | 0 | 0.61 | 4.4 | 96 | 0 | 0 | 0.068
MOD Supply,100 Ton Gun Gibraltar Tourist Board | 2016-01-25 | 1155180 |  | 0 | 0 | <0.033 | 0.072 | <0.013 | <0.00056 | 0.55 | <0.30 | <0.0024 | <0.025 | <0.00093 | <0.30 | <0.025 | <0.10 | <0.024 | 0.29 | <0.013 | 0.22 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.078 | <0.12 | <0.098 | 1.60 | <0.50 | <6.6 | 0.0078 | 190 | <0.93 | 640 | 8.17 | <1.2 | <0.18 | 0 | 0.73 | 3.5 | 37 | 0 | 0 | 0.063
Zone2,Low Level,Cornwalls Shopping Centre | 2016-04-25 | 1208687 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.57 | <0.30 | <0.017 | <0.044 | 0.0037 | <1.7 | <0.025 | <0.10 | <0.024 | 0.25 | <0.055 | 0.35 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.098 | 5.17 | <0.50 | <6.6 | 0.0099 | 200 | <0.93 | 730 | 8.17 | 33 | 0.62 | 0 | 0.31 | 6.3 | 100 | 0 | 0 | 0.19
Zone4,Upper Rock District,Poca Roca Mter Room | 2016-04-25 | 1208668 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.58 | <0.30 | <0.017 | <0.044 | <0.0011 | <1.7 | <0.025 | <0.10 | <0.024 | 1.5 | <0.055 | 0.039 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.098 | 3.06 | <0.50 | <6.6 | 0.011 | 210 | <0.93 | 760 | 8.19 | 1.7 | <0.18 | Slight Chlorine | <0.092 | 6.7 | 110 | 0 | 0 | 0.073
MOD Upper Rock, Retreat Centre | 2016-04-25 | 1208686 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.59 | 14 | <0.017 | <0.044 | 0.0016 | <1.7 | <0.025 | <0.10 | <0.024 | 0.16 | <0.055 | 0.19 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.098 | 11.5 | <0.50 | <6.6 | 0.0092 | 210 | <0.93 | 720 | 8.07 | 13 | 0.28 | 0 | 0.44 | 3.9 | 82 | 0 | 0 | 0.070
Zone1 High Level 24 Prince Edwards Road | 2016-08-23 | 1278169 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.86 | <0.30 | <0.017 | 0.12 | 0.0044 | <1.7 | <0.025 | <0.10 | 0.026 | 3.9 | <0.055 | 0.33 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.098 | 7.80 | <0.50 | 7.0 | <0.0072 | 200 | <0.93 | 730 | 8.15 | 34 | 0.33 | 0 | 0.62 | 6.9 | 100 | 0 | 0 | 0.17
Zone3 Europa District St Bernards Church | 2016-08-23 | 1278170 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.70 | <0.30 | <0.017 | 0.099 | <0.0011 | <1.7 | <0.025 | <0.10 | 0.026 | 1.4 | <0.055 | <0.034 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | 0.12 | <0.098 | 5.00 | <0.50 | 9.0 | <0.0072 | 190 | <0.93 | 700 | 8.23 | <1.2 | <0.18 | 0 | 0.55 | 7.9 | 99 | 0 | 0 | 0.082
Zone2,Low Level,329 Main Street | 2016-10-31 | 1323591 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.71 | <0.60 | <0.017 | <0.044 | 0.0043 | <1.7 | <0.024 | <0.10 | <0.024 | 2.5 | <0.055 | 0.37 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.12 | 1.00 | <0.50 | 12 | 0.012 | 200 | <0.93 | 700 | 8.19 | 7.4 | <0.18 | 0 | 0.56 | 2.7 | 92 | 0 | 0 | 0.83
Zone4,Upper Rock District,Lower Bruce's Farm | 2016-10-31 | 1323594 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.73 | <0.60 | 0.026 | <0.044 | 0.012 | <1.7 | <0.024 | <0.10 | <0.024 | 26 | <0.055 | 2.5 | <1.7 | <0.0029 | 0.00 | 0.00 | <0.16 | <0.12 | <0.12 | 0.00 | <0.50 | 19 | 0.0073 | 220 | <0.93 | 790 | 8.18 | 110 | 3.7 | 0 | 0.44 | 4.3 | 110 | 0 | 0 | 0.17
MOD Supply,Airport car park unit1,British Lines | 2016-10-31 | 1323601 |  | 0 | 0 | <0.33 | <0.14 | <0.013 | <0.00056 | 0.72 | 7.5 | <0.017 | <0.044 | 0.0073 | <1.7 | <0.024 | <0.10 | <0.024 | 4.2 | <0.055 | 0.43 | <1.7 | <0.0029 | 0.00990 | 0.00 | <0.16 | <0.12 | <0.12 | 1.20 | <0.50 | 11 | <0.0072 | 220 | <0.93 | 750 | 8.16 | 77 | 4.1 | 0 | 0.31 | 2.9 | 96 | 0 | 0 | 0.26